## Slide 1: AIR QUALITY MONITORING DRONE SYSTEM
BY AASHITA GUPTA

## Slide 2: CONTENTS
Introduction
Problem statement
Existing protocols
Tech behind NAAQMS
Drawback of existing protocol
Drone technology
Quadcopter
Limitations
Future trends
Conclusion

## Slide 3: INTRODUCTION
Air pollution is a major environmental and world wide health concern. Air quality monitoring is essential because polluted air poses a serious risk environment and human health. The Drone-assisted Air-Quality Monitoring system is a project that uses application of Ecological mapping to monitor environment and air quality. The report focuses on drone types, sensor types and payload capacities.
Notes: What is ecological mapping ?

## Slide 4: PROBLEM STATEMENT
According to the World Health Organization, air pollution is responsible for one in nine fatalities, and 92% of the population surpasses the WHO-set limiting values. In most places, pollution levels rise above legal boundaries, influencing the world’s forests, wildlife, and green spaces. The dispersion of dangerous contaminants in the air disrupts the equilibrium of the atmosphere, draws numerous diseases to living things, and harms the natural environment.
Air quality monitoring consists of checking concentration air pollutants numerically and qualitatively in accordance with permitted national boundaries. Areas with harmful and dangerous air quality can be found using the Air Quality IndexThe air quality index is intended to assist local government, stakeholders, and policymakers in addressing issues related to air pollution, making decisions, ranking locations according to their air quality, raising public awareness about these issues through scientific research, and tracking changes in air quality

## Slide 5: EXISTING PROTOCOLS IN INDIA
The algorithm used to calculate air quality index (AQI) is the sub index approach technique which is a method of collecting air contaminants. 122 National Ambient Air Quality Surveillance (NAAQMS) sites are working in India, as a growing nation. Multiple pollutants can be simultaneously collected and identified using these instruments. NAAQS is a nationwide surveillance to assist and monitor air quality which is run by CPCB.
It measures common air pollutants, and is a government run fixed station that measures air quality.

## Slide 6: TECH BEHIND NAAQMS
Principle of Beer Lamberts law states that amount of gas present directly affects how much light is absorbed. This is the same principle used in basis of infrared absorption in IR LED or similar light source.
Low cost sensors (LCS) uses qualitative analysis to show whether pollution is present and give general trends. Important factors include repeatability- How consistently it gives the same reading.
Recent advances include the quantitative analysis which measures the exact concentration of pollutants.

## Slide 7: DRAWBACKS TO EXISTING PROTOCOLS
They are
Expensive
Stationary
Only show ground level pollution
Tough to identify increase in pollution

## Slide 8: DRONE TECHNOLOGY
Rapid advancement is observed as they are used in ecology, air and water quality monitoring.
Fixed wing drones used to measure CO2, Rotary drones used for both CO2 and methane detection
Various payloads and sensors used in different studies to test drones

## Slide 9: QUADCOPTER
It is fitted with methane sensors in oil fields.
It contains optical sensors for dust clouds
DJI S900 based drones for CO, NO2 AND O3 sensors.
Payload capacity varied small quadcopters carry 400g DJI inspire 2 with 1900g payloads.
Larger systems like the M2AV carry 5000g take off weight.
Other works used payloads of 1500g for SO2 and up to 4000 g for CO2.

## Slide 10: Quadcopters
Technical aspects include sensor placement options. Tested sensor placement options could be center of the top side of the quadcopter or outside the quadcopter.
Is sensor placement is at top center:
  It would be relatively simple design
  Does not disturb center of gravity
  Experiments with or without propeller show airflow does not significantly affect sensors
Studies searched three schemes for sensor placement:
  About UAV (Unmanned Aerial Vehicle)
  Under UAV
  Supported externally outside UAV frame

## Slide 11: Quadcopters
Outcomes:
  Scheme 1 and 2 presented similar airspeed impact on gas measurement. Airflow was found to be slower in both center and exterior.
  Scheme 2 presented less turbulence impact and was simple to implement.
  Scheme 3 was best for reducing turbulence but more complex to design
Conclusion: Top center mounting scheme 1 was the simplest and effective scheme with scheme 3 gave best accuracy but found to be harder to design.

## Slide 12: LIMITATIONS
Low-cost sensors are easily affected by wind, humidity and temperature. Correct sensor placement is needed for accurate data.
Drones cannot fly freely in all areas. Special permission from authority is required for mapping or monitoring in these zones.
Most drones have low flight time reduced by higher payload weight. However newer power sources like fuel cells and advanced Li-ion batteries are improving both battery and flight life duration.

## Slide 13: FUTURE TRENDS
Smart autonomous drones for pollutant tracking, ecological monitoring, swarm applications.
Bio inspired drones and microdrones which might help in pollination, planting and biodiversity monitoring
Hybrid power system for longer flights where fuel system is Li-ion
Waterproof drones for marines and wetland environements

## Slide 14: CONCLUSIONS
Drone assisted air quality and ecological monitoring show that multirotor drones are most suitable for many applications.
Fixed winged drones have advantage of long flight time and more payload capacity.
Biggest challenge in drone assisted AQ monitoring is sensor attachement and calibration. Sensors should avoid interference with drone propellor.
Most of drone applications are environmental monitoring which has now shifted towards air quality monitoring. This shows recognition to collect air quality data in 3d space, which can tehn be used in predictions and validation of pollution patterns.

## Slide 15: CONCLUSIONS
CHALLENGES FOUND TO BE:
  Calibration protocols are not standardized
  Maintaining consistent readings is a problem
  Effects of drone blades on airflow around the sensors can cause innacurate readings and require more research.

## Slide 16: Thank you